## Input Details
Pyles HVAC, LLC DBA Pyles HVAC and Pyles HVAC Supply
Company Phone | 816-527-7535
Company Fax | 816-277-0035
Company Email | pyleshvac@gmail.com
Website | pyleshvackc.com
Service Price
This price applies when Pyles HVAC supplies and installs the part during a service call. It includes all labor, travel time, equipment, overhead, warranty handling, and markup associated with diagnosing, replacing, and verifying proper operation of the part. This is the price typically paid during repair or maintenance service visits.
Supply & Procurement Price (Material-Only Price)
This price applies when parts are supplied only without installation. It is intended for government agencies, commercial customers, and third-party purchasers requiring material-only supply or direct delivery. Labor and service-related costs are not included, resulting in a lower material-only price. Volume or bulk pricing may be available depending on quantity and availability.

## Air Filters
Residential Air Filters
Fiberglass (Disposable) Filters | Service Price | Supply & Procurement Price
1" fiberglass panel filters (economy) | $25-$40 | $5-$10
2" fiberglass filters | $30-$50 | $8-$15
Pleated Filters
1" pleated filters (MERV 6–13) | $40 – $65 | $12-$20
2" pleated filters (MERV 8–13) | $55 – $85 | $20 – $35
4" pleated filters (MERV 11–16) | $95 – $150 | $45 – $75
5" pleated filters (MERV 11–16) | $120 – $175 | $55 – $95
6" pleated filters (high MERV) | $150 – $225 | $70 – $120
Washable / Electrostatic Filters
Reusable washable filters | $75 – $125 | $35 – $65
Electrostatic filters (charged media) | $120 – $200 | $60 – $110
Media Filters
4"–6" media filters | $110 – $180 | $50 – $90
Whole-home media filter cartridges | $150 – $250 | $70 – $130 | 80 – $150 | $150 – $250
HEPA for Residential Add-Ons
Portable HEPA cartridges | $150-$350 | $80-$150
Inline HEPA filters (retrofit kits) | $500-$1,250 | $250-$600
Common Filter Sizes
1" Residential Sizes
10x20x1
12x12x1
12x20x1
14x20x1
14x25x1
16x20x1
16x25x1
18x20x1
18x25x1
20x20x1
20x25x1
24x24x1
2" Sizes
12x20x2
16x20x2
16x25x2
20x20x2
20x25x2
24x24x2
4", 5", and 6" Media
16x25x4 / 5
20x20x4 / 5
20x25x4 / 5
24x24x4 / 5
Commercial Air Filters
Pleated Commercial Filters
1", 2", 4" pleated MERV 8 | Pricing varies by specifications/availability, please contact for quote.
1", 2", 4" pleated MERV 11 | Pricing varies by specifications/availability, please contact for quote.
1", 2", 4" pleated MERV 13 | Pricing varies by specifications/availability, please contact for quote.
Extended Surface / Pocket Filters
10" deep bag filters (MERV 11–16) | Pricing varies by specifications/availability, please contact for quote.
12" deep bag filters | Pricing varies by specifications/availability, please contact for quote.
15" deep bag filters | Pricing varies by specifications/availability, please contact for quote.
22" deep bag filters | Pricing varies by specifications/availability, please contact for quote.
Rigid Cell Filters
6" rigid box filters (MERV 11–14) | Pricing varies by specifications/availability, please contact for quote.
12" rigid box filters | Pricing varies by specifications/availability, please contact for quote.
Plastic or metal frame | Pricing varies by specifications/availability, please contact for quote.
Panel Filters
Metal washable panel filters | Pricing varies by specifications/availability, please contact for quote.
GE/Train/Carrier-size specialty panels | Pricing varies by specifications/availability, please contact for quote.
Carbon / Odor Removal Filters
Activated carbon pleated filters | Pricing varies by specifications/availability, please contact for quote.
Carbon panel filters | Pricing varies by specifications/availability, please contact for quote.
Carbon bag filters | Pricing varies by specifications/availability, please contact for quote.
Industrial & Specialty Air Filters
HEPA & ULPA Filters
99.97% HEPA filters | Pricing varies by specifications/availability, please contact for quote.
99.99% HEPA filters | Pricing varies by specifications/availability, please contact for quote.
ULPA filters for clean rooms | Pricing varies by specifications/availability, please contact for quote.
Gel-seal HEPA filters | Pricing varies by specifications/availability, please contact for quote.
High-Temperature Filters
Oven-rated filters | Pricing varies by specifications/availability, please contact for quote.
Industrial high-temp pleated filters | Pricing varies by specifications/availability, please contact for quote.
Gas-Phase / Chemical Filtration
Activated carbon blocks | Pricing varies by specifications/availability, please contact for quote.
Potassium permanganate filters | Pricing varies by specifications/availability, please contact for quote.
Multi-stage chemical cartridges | Pricing varies by specifications/availability, please contact for quote.
Final Filters for Hospitals & Labs
V-bank filters | Pricing varies by specifications/availability, please contact for quote.
High-capacity HEPA cassettes | Pricing varies by specifications/availability, please contact for quote.
Laminar flow hood filters | Pricing varies by specifications/availability, please contact for quote.

## HVAC Equipment
Equipment | Model/SKU | Manufacturer
80% Furnace | 80% AFUE Single-Stage Gas Furnace 40k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
90% Furnace | 96% AFUE Two-Stage Gas Furnace 40k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
80% Furnace | 80% AFUE Single-Stage Gas Furnace 60k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
90% Furnace | 96% AFUE Two-Stage Gas Furnace 60k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
80% Furnace | 80% AFUE Single-Stage Gas Furnace 80k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
90% Furnace | 96% AFUE Two-Stage Gas Furnace 80k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
80% Furnace | 80% AFUE Single-Stage Gas Furnace 100k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
90% Furnace | 96% AFUE Two-Stage Gas Furnace 100k BTU | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Air Handler w/ Electric Heat Strips | 10 kW Electric Furnace | Lennox, Ecoer, Goodman, Friedrich, or Equavilent w/ Generic OEM Heat Strips
Air Handler w/ Electric Heat Strips | 15 kW Electric Furnace | Lennox, Ecoer, Goodman, Friedrich, or Equavilent w/ Generic OEM Heat Strips
Air Handler w/ Electric Heat Strips | 20 kW Electric Furnace | Lennox, Ecoer, Goodman, Friedrich, or Equavilent w/ Generic OEM Heat Strips
Condenser | 13-25 SEER2 Condensing Unit 1.5 Ton | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Air Handler | 1.5 Ton Multi-Position Air Handler | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Condenser | 13-25 SEER2 Condensing Unit 2 Ton | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Air Handler | 2 Ton Multi-Position Air Handler | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Condenser | 13-25 SEER2 Condensing Unit 3 Ton | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Air Handler | 3 Ton Multi-Position Air Handler | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Condenser | 13-25 SEER2 Condensing Unit 4 Ton | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Air Handler | 4 Ton Multi-Position Air Handler | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Condenser | 13-25 SEER2 Condensing Unit 5 Ton | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Air Handler | 5 Ton Multi-Position Air Handler | Lennox, Ecoer, Goodman, Friedrich or Equavilent
Mini-Split | 9000 BTU Mini-Split Heat Pump – 1 Zone | Mitsubishi, Daikin, Fujitsu, or Equavilent
Mini-Split | 12000 BTU Mini-Split Heat Pump – 1 Zone | Mitsubishi, Daikin, Fujitsu, or Equavilent
Mini-Split | 18000 BTU Mini-Split Heat Pump – 2 Zone | Mitsubishi, Daikin, Fujitsu, or Equavilent
Mini-Split | 24000 BTU Mini-Split Heat Pump – 3 Zone | Mitsubishi, Daikin, Fujitsu, or Equavilent
RTU Package Unit Gas/Electric | 3 Ton Gas/Electric Rooftop Unit | Trane, York, Lennox, Daikin, or Equavilent
RTU Package Unit Gas/Electric | 5 Ton Gas/Electric Rooftop Unit | Trane, York, Lennox, Daikin, or Equavilent
RTU Package Unit Gas/Electric | 7.5 Ton Gas/Electric Rooftop Unit | Trane, York, Lennox, Daikin, or Equavilent
RTU Package Unit Gas/Electric | 10 Ton Gas/Electric Rooftop Unit | Trane, York, Lennox, Daikin, or Equavilent
Pyles HVAC, LLC dba Pyles HVAC Supply
8510 E 93rd Ter. Kansas City, MO 64138
816-527-7535 pyleshvac@gmail.com
www.pyleshvackc.com

## Electrical Parts
Electrical Parts | Service Price | Supply & Procurement Price
Dual run capacitors (20/5, 30/5, 35/5, 40/5, 45/5, 50/5, etc.) | $100-$500
Single run capacitors | $100-$500
Hard start kits | $100-$500
Contactor (1-pole, 2-pole, 3-pole, 4-pole) | $100-$500
Magnetic contactors (commercial) | $200-$1,250
Relays (24V, 120V, 240V) | $50-$750
Transformers (40VA, 75VA, 100VA multi-tap) | $100-$750
Fuses (time-delay, fast-blow, class RK5, class J) | $100-$500
Disconnects (fusible & non-fusible) | $150-$750
Phase monitors / phase loss protectors | $100-$500
Surge protectors (industrial HVAC SPD) | $100-$1,500
Motor starters | $100-$1,500
VFDs (variable frequency drives) | $500-$15,000
Control relays | Pricing varies by specifications/availability, please contact for quote.
BAS controllers (BACnet, Modbus) | $250-$5,000
Building automation sensors (temp, humidity, airflow, CO₂) | $100-$1,500
Pyles HVAC, LLC 816-527-7535
pyleshvac@gmail.com/www.pyleshvackc.com
Nationwide Service & Supply

## Heating Equipment Parts
HEATING EQUIPMENT PARTS
(Furnaces, Packaged Gas/Electric Units, Boilers, Heat Strips, Combustion Components)
Gas Furnace Parts | Service Price | Supply & Procurement Price
Gas valves (single-stage, two-stage, modulating) | $250-$1,000
Combination gas valves | $350-$1,500
Burner assemblies | $250-$1,000
Burner orifices | $50-$400
Heat exchangers (primary & secondary) | $500-$3,500
Ignitors (silicon nitride, silicon carbide) | $80-$400
Flame sensors | $50-$300
Pilot assemblies | $150-$750
Pilot tubing | $50-$250
Rollout switches | $50-$250
High-limit switches | $100-$500
Transformer (110v or 240v =24v) | $100-$500
Blower Motor(PSC, ECM, Variable Speed) | $300-$2,500
Inducer motors /Draft inducers | $300-$2,500
Pressure switches (various settings) | $100-$600
Furnace Condensate Pump | $250-$500
High-Efficiency Vent Pipe (Category III / IV) | $50-$750
Vent dampers | $100-$750
Manifold assemblies | $250-$1,000
Furnace control boards | $250-$2,500
Furnace wiring harnesses | $100-$500
Electric Heat Parts | Service Price | Supply & Procurement Price
Heat strip kits (5–30 kW) | Pricing varies by specifications/availability, please contact for quote.
Sequencers | Pricing varies by specifications/availability, please contact for quote.
Thermal cutouts | Pricing varies by specifications/availability, please contact for quote.
High-limit thermostats | Pricing varies by specifications/availability, please contact for quote.
Boiler & Hydronic Heating Parts | Service Price | Supply & Procurement Price
Circulator pumps (Taco, Grundfos, etc.) | Pricing varies by specifications/availability, please contact for quote.
Pump motors | Pricing varies by specifications/availability, please contact for quote.
Pump flanges / gaskets | Pricing varies by specifications/availability, please contact for quote.
Expansion tanks | Pricing varies by specifications/availability, please contact for quote.
Air separators | Pricing varies by specifications/availability, please contact for quote.
Aquastats | Pricing varies by specifications/availability, please contact for quote.
Low-water cutoff switches | Pricing varies by specifications/availability, please contact for quote.
Pressure relief valves | Pricing varies by specifications/availability, please contact for quote.
Zone valves | Pricing varies by specifications/availability, please contact for quote.
Mixing valves | Pricing varies by specifications/availability, please contact for quote.
Boiler gas trains | Pricing varies by specifications/availability, please contact for quote.
Ignition modules | Pricing varies by specifications/availability, please contact for quote.
Hydronic heat exchangers | Pricing varies by specifications/availability, please contact for quote.
Pyles HVAC, LLC 816-527-7535
pyleshvac@gmail.com/www.pyleshvackc.com
Nationwide Service & Supply

## Cooling Equipment Parts
COOLING EQUIPMENT PARTS
(Condensers, Air Handlers, Heat Pumps, RTUs, Mini-Splits)
Compressor & Condenser Components | Service Price | Supply & Procurement Price
Scroll compressors | Pricing varies by specifications/availability, please contact for quote.
Reciprocating compressors | Pricing varies by specifications/availability, please contact for quote.
3-phase compressors | Pricing varies by specifications/availability, please contact for quote.
Compressor mounting kits | Pricing varies by specifications/availability, please contact for quote.
Crankcase heaters | Pricing varies by specifications/availability, please contact for quote.
Condenser fan motors (PSC, ECM, variable speed) | Pricing varies by specifications/availability, please contact for quote.
Fan blades | Pricing varies by specifications/availability, please contact for quote.
Condenser coils | Pricing varies by specifications/availability, please contact for quote.
Service valves | Pricing varies by specifications/availability, please contact for quote.
Swept fan blades | Pricing varies by specifications/availability, please contact for quote.
Top grilles / fan shrouds | Pricing varies by specifications/availability, please contact for quote.
Heat Pump Specific Parts | Service Price | Supply & Procurement Price
Defrost boards | Pricing varies by specifications/availability, please contact for quote.
Defrost sensors | Pricing varies by specifications/availability, please contact for quote.
Ambient temperature sensors | Pricing varies by specifications/availability, please contact for quote.
Reversing valves | Pricing varies by specifications/availability, please contact for quote.
Reversing valve solenoids | Pricing varies by specifications/availability, please contact for quote.
Reversing valve coils | Pricing varies by specifications/availability, please contact for quote.
Low ambient kits / head pressure control kits | Pricing varies by specifications/availability, please contact for quote.
Outdoor thermostatic sensors | Pricing varies by specifications/availability, please contact for quote.
Air Handler & Indoor Coil Parts | Service Price | Supply & Procurement Price
Evaporator coils | Pricing varies by specifications/availability, please contact for quote.
TXVs / EEVs | Pricing varies by specifications/availability, please contact for quote.
Piston/orifice meters | Pricing varies by specifications/availability, please contact for quote.
Drain pans | Pricing varies by specifications/availability, please contact for quote.
Condensate float switches | Pricing varies by specifications/availability, please contact for quote.
Sequencers (for heat kits) | Pricing varies by specifications/availability, please contact for quote.
Blower housing assemblies | Pricing varies by specifications/availability, please contact for quote.
Mini-Split Parts | Service Price | Supply & Procurement Price
Communication boards | Pricing varies by specifications/availability, please contact for quote.
Fan motors (indoor and outdoor) | Pricing varies by specifications/availability, please contact for quote.
Drain pumps | Pricing varies by specifications/availability, please contact for quote.
Indoor blower wheels | Pricing varies by specifications/availability, please contact for quote.
Mini-split thermistors | Pricing varies by specifications/availability, please contact for quote.
Mini-split PC boards | Pricing varies by specifications/availability, please contact for quote.
Pyles HVAC, LLC 816-527-7535
pyleshvac@gmail.com/www.pyleshvackc.com
Nationwide Service & Supply

## Air Flow Parts
AIR FLOW PARTS
(Blowers, Duct Components, Economizers, Dampers, Filters)
Blower & Fan System Components | Service Price | Supply & Procurement Price
Blower motors (PSC, ECM, X-13, variable-speed)
Commercial blower motors (3-phase)
Blower wheels (squirrel cage)
Belt-driven blower assemblies
Pulleys / sheaves
Fan belts (A, B, C sizes)
Belt tensioners
Fan bearings
Blower shafts
Pillow block bearings
Motor mounts
Dampers & Economizers | Service Price | Supply & Procurement Price
Economizer dampers
Economizer actuators
Mixed-air dampers
Fresh air dampers
Barometric relief dampers
Motorized dampers (Belimo, Honeywell)
Fire/smoke dampers
Damper actuators
Filtration Components | Service Price | Supply & Procurement Price
Filter racks
Filter access doors
1”, 2”, 4”, 5”, & HEPA filters
Commercial pleated filters
Bag filters
HEPA modules
Airflow Sensors & Safety | Service Price | Supply & Procurement Price
Differential pressure switches
Airflow proving switches
Freeze stats
Discharge air temperature sensors
Mixed-air temperature sensors
CO₂ sensors
Humidity sensors
Pyles HVAC, LLC 816-527-7535
pyleshvac@gmail.com/www.pyleshvackc.com
Nationwide Service & Supply

## Refrigeration Parts
Refrigeration Equipment Parts
(Refrigerant circuit, piping, valves, coils, controls)
Refrigerant Circuit Components | Service Price | Supply & Procurement Price
Filter driers (liquid & suction)
Accumulators
Receivers
TXVs / EEVs / TEVs
Capillary tubes
Distributor nozzles
Sight glass / moisture indicators
Suction line filters
Refrigerant ball valves
King valves
Schrader cores
Access valves
Charging valves
Hot gas bypass valves
Refrigerant Piping & Fittings | Service Price | Supply & Procurement Price
Line sets (1/4–3/8, 3/8–3/4, 1/2–7/8, etc.)
Copper piping
Copper 45° and 90° fittings
Suction line insulation
Brazing rods
Swage/flare fittings
P-traps
Oil separators (commercial)
Liquid line solenoid valves
Refrigeration Sensors & Controls | Service Price | Supply & Procurement Price
Pressure transducers
Temperature sensors (suction, liquid, discharge)
Thermistors
Expansion valve power heads
Low pressure controls
High pressure controls
Electronic defrost controls
Refrigeration defrost timers
Coils & Heat Exchangers | Service Price | Supply & Procurement Price
Evaporator coils
Condenser coils
Plate heat exchangers
Shell-and-tube heat exchangers (industrial)
Refrigerant (per lb) | Service Price | Supply & Procurement Price
R-410A
R-32
R-454B
R-407C
R-134a
R-513A
R-404A
R-448A / R-449A
R-717 (Ammonia)
Pyles HVAC, LLC 816-527-7535
pyleshvac@gmail.com/www.pyleshvackc.com
Nationwide Service & Supply

## Thermostats
MODEL/PART NUMBER | DESCRIPTION | BRAND
HCHW3610W8001 | WLD3 SINGLE PK BATRY F/ TRADE | HONEYWELL-THERMOSTATS
HYCHW3000W3003 | L1 3 PACK WLD3 TRIPLE PACK BATTERY FOR TRADE | HONEYWELL-THERMOSTATS
HTWLD3005001 | L2 WIFI WTR SNSR SWCH | HONEYWELL-THERMOSTATS
HWLD3CABLE | WLD ACCESSORY CABLE SENSOR (5-FT) | HONEYWELL-THERMOSTATS
HVWS02Y12 | L5 WIFI ACT W/ 1/2 NPT BV | HONEYWELL-THERMOSTATS
HVWS02Y34 | WIFI ACT W/ 3/4 NPT BV | HONEYWELL-THERMOSTATS
HVWS02Y1 | WIFI ACT W/ 1 NPT BV | HONEYWELL-THERMOSTATS
EEBSCV01 | SMARTCAMERA W/ VOICE CNTL | ECOBEE
EEBCAMSDB01 | SMART DOORBELL CAMERA HRDWRD | ECOBEE
GGA02276US | NEST CAM BATRY PWR PRO WHIT US/CA | GOOGLE NEST
GGA02942US | NEST CAM WITH FLOOD PRO WHIT US | GOOGLE NEST
GGA02268US | NEST VIDEO DRBELL BATRY PWR PRO WHT | GOOGLE NEST
GGA05560US | Nest Learning Thermostat (4th gen) + Nest Temperature Sensor | GOOGLE NEST
GGA01331US | NEST HUB W/ SLEEP SENSE | GOOGLE NEST
GGA02180US | NEST THERMOSTAT PRO US | GOOGLE NEST
GGA01837US | NEST TSTAT TRIM KIT US/CA WHIT | GOOGLE NEST
EEBSTATE6P01 | Smart Thermostat Premium | ECOBEE
EEBSTATE6LP01 | Smart Thermostat Enhanced | ECOBEE
EEBSTATE7P01 | Smart Thermostat Lite PRO | ECOBEE
EEBRSHM2PK01 | ECOBEE SMART SNSR W/ STND 2/PK | ECOBEE
HTHX321WF3003W | T10+ PRO SMART TSTAT W/O SNSR | HONEYWELL-THERMOSTATS
HTHX321WFS3001W | T10+ PRO SMART TSTAT W/ REDLINK SNSR | HONEYWELL-THERMOSTATS
HC7189R30022 | T10+ REDLINK WRLSS ROOM SNSR 2-PACK | HONEYWELL-THERMOSTATS
HC7089R3013 | T10+WRLSS OUTDR SNSR | HONEYWELL-THERMOSTATS
HTHM04R3000 | EQUIP INTERFACE MDL 3.0 FOR t10+ ONLY | HONEYWELL-THERMOSTATS
HYTHM1004R3000 | T10+ kit with EIM, indoor, return/supply sensors | HONEYWELL-THERMOSTATS
HYTHM1004R3001 | T10+ kit with EIM, indoor, outdoor, return/supply sensors | HONEYWELL-THERMOSTATS
HTH9320WF5003 | 3H/2C PROG TSTAT WIFI | HONEYWELL-THERMOSTATS
HTH8321WF1001 | VISIONPRO 3H/2C PROG TSTAT WIFI | HONEYWELL-THERMOSTATS
HTH6220WF2006 | 2H/2C LYRIC T6 PRO WIFI PROG TSTAT | HONEYWELL-THERMOSTATS
HTH6320WF2003 | 3H/2C LYRIC T6 PRO WIFI PROG TSTAT | HONEYWELL-THERMOSTATS
HTH2110WF4008 | FocusPro® 1H/1C Smart Programmable Thermostat in White | HONEYWELL-THERMOSTATS
HTH2320WF4010 | FocusPro® 3H/2C, 2H/2C Smart Programmable Thermostat in White | HONEYWELL-THERMOSTATS
HTH6320ZW2007 | T6 PRO Z-Wave Z-Wave Pro Thermostat | HONEYWELL-THERMOSTATS
W1F96U42WF | SENSI TOUCH 2 SMART TSTAT WIFI | WHITE RODGERS-THERMOSTATS
W1F87U42WF | 4H/2C UNIV WIFI TSTAT SENSI | WHITE RODGERS-THERMOSTATS
BRA8500 | 3H/2C Programmable Thermostat Kit | BRAEBURN SYSTEMS LLC
BRA8205 | 3H/2C Smart Programmable Thermostat | BRAEBURN SYSTEMS LLC
HTH6210U2001 | 2H/1C T6 PRO PROG TSTAT | HONEYWELL-THERMOSTATS
HTH6220U2000 | 2H/2C T6 PRO PROG TSTAT | HONEYWELL-THERMOSTATS
HTH2210U4005 |  | HONEYWELL-THERMOSTATS
HTH2110U4004 | FocusPro® 1H/1C Programmable Thermostat in White | HONEYWELL-THERMOSTATS
BRA4030 | Universal 7,5-2 Day or Non Prog 2H/1C w/Dry Contacts | BRAEBURN SYSTEMS LLC
BRA4235 | Universal 7,5-2 Day or Non Prog 3H/2C w/Dry Contacts & Humidity Cntrl | BRAEBURN SYSTEMS LLC
BRA2030 | Universal 7,5-2 Day or Non-Prog 1H/1C | BRAEBURN SYSTEMS LLC
BRA2230 | Universal 7,5-2 Day or Non-Prog 2H/2C | BRAEBURN SYSTEMS LLC
BRA1030 | 1H/1C NON PROG DIGIT TSTAT | BRAEBURN SYSTEMS LLC
BRA1230 | 2h/1C NON PROG DIGITAL | BRAEBURN SYSTEMS LLC
PSTSP21AWH | Programmable 2 Heat 1 Cool Thermostat, White | PROSELECT - T-STATS
PSTSN11AWH | Non-programmable 1 Heat 1 Cool Thermostat, White | PROSELECT - T-STATS
PSTSN21AWH | Non-programmable 2 Heat 1 Cool Thermostat, White | PROSELECT - T-STATS
W1F83C11PR | 1H/1C 5+1+1 DAY PROG DIGIT TS | WHITE RODGERS-THERMOSTATS
W1F83C11NP | 1H/1C 5+1+1 DAY NON PROG DIGIT TS | WHITE RODGERS-THERMOSTATS
HTH6100AF2004 | 1H FOCUSPRO PROG TSTAT | HONEYWELL-THERMOSTATS
HTH1110U4000 | FocusPro® 1H/1C Non-Programmable Thermostat in White | HONEYWELL-THERMOSTATS
BRA500 | 1H/1C MECH TSTAT | BRAEBURN SYSTEMS LLC
W1E78140 | 1H/0C NON PROG B PWR DIGIT TSTAT | WHITE RODGERS-THERMOSTATS
HT87K1007 | HEAT ONLY RND TSTAT 490F | HONEYWELL-THERMOSTATS

## Mini-Split Accesories
MODEL/PART NUMBER | DESCRIPTION | BRAND
REC87733 | WALL COND BRKT 300# | RECTORSEAL
REC87735 | WALL CDR BRKT 500 LB | RECTORSEAL
DIVQSMS1201 | 12 MINI SPLT STND WIDE | DIVERSITECH
DIVQSMS1801 | 18 MINI SPLT STND WIDE | DIVERSITECH
DIVMSK0036 | M/S KIT W/DISC, WHIP, SURGE, DL ADPT, WALL SLV | DIVERSITECH
DIVMSK003F6 | M/S KIT W/FUSED DISC, WHIP, SURGE, DL ADPT, WALL SLV | DIVERSITECH
S58225705M | 14/4 STRND MINISPLIT 600V CAB 50FT | SOUTHWIRE
S58225703 | 250 FT 14/4 MINISPLIT 600V CA | SOUTHWIRE
S58340803M | 14/4 MINISPLIT WIRE STRAND MC EZ-IN 50FT (NON-SHIELDED) | SOUTHWIRE
S58340802 | 14/4 250FT STRAND POLY MC EZ-IN (NON-SHIELDED) | SOUTHWIRE
S64235201 | EZIN LIQ TIGHT CONN 1/2 STRT TECK50 | SOUTHWIRE
S64275801 | 90 DEG CONN TECK5090 | SOUTHWIRE
DIV230D4A | 4 SPD CHAN | DIVERSITECH
DIV230CP4 | 4 UNION COUP | DIVERSITECH
DIV230WC4 | 4 WALL PENETRATION CVR | DIVERSITECH
DIV230FJ4 | 4 FLEX JT | DIVERSITECH
DIV230DE4 | 4 DUCT END | DIVERSITECH
DIV230FB4 | 4 90 DEG FLAT BEND | DIVERSITECH
REC85104 | SD 78 SLIM DUCT 100 WHIT | RECTORSEAL
REC86110 | SD 3.75 COUPLER WH 100 | RECTORSEAL
REC86116 | SD 3.75 WALL INLET WH 100 | RECTORSEAL
REC86111 | SD 3.75 90 FLAT ELL WH 100 | RECTORSEAL
REC86102 | SD 3.75 90 VERTI ELL WH 100 | RECTORSEAL
REC86114 | SD 3.75 SOFFIT INLET WH 100 | RECTORSEAL
P777133 | 1/4 COUP PZKPR-C4 | PARKER HANNIFIN
P777134 | 3/8 COUP PZKPR-C6 | PARKER HANNIFIN
P777135 | 1/2 COUP PZKPR-C8 | PARKER HANNIFIN
P777136 | 5/8 COUP PZKPR-C10 | PARKER HANNIFIN
P777137 |  | PARKER HANNIFIN
P777138 | 7/8 COUP PZKPR-C14 | PARKER HANNIFIN
P777091 | PZKP-IK | PARKER HANNIFIN
P777090 | *CVR* PZKPR-RT | PARKER HANNIFIN

## Form1 (hidden)
LABOR CATEGORY | UNIT OF MEASURE | PRICE | DESCRIPTION OF CAPABILITIES | MINIMUM YEARS OF EXPERIENCE
HVAC TECHNICIAN**
HVAC APPRENTICE
REFRIGERATION TECHNICIAN
CHILLER TECHNICIAN
BOILER TECHNICIAN
Provides service, installation, maintenance, and repairs of commercial and industrial Domestic, Hydronic, Steam, Electric, and Process Boilers. Responsibilities include diagnostics and repairs of combustion and/or electrical components, heat exchangers, circulating pumps, ignitors, blowers, sensors, and limits. Includes performing combustion analysis and tune-up of boilers.